Note: The above blank parts must be truthfully filled in by the end user and the sales store, otherwise there is no warranty.

(Back for warranty period and terms)

LED Conference Three Base color Light

RH-COB200

Property protection repair said kming

(Please read this manual in detail before using this lamp)

First of all, thank you for purchasing LED series lamps. Please read this manual carefully before use and operate according to the regulations to avoid personal safety and damage by misuse.

Box list: one set of lamps, one instruction manual, one warranty card.

Lighting function design is applicable: nightclub.DISCO.bar. Home, PARTY, etc.

direction for use:

After opening the packing box, carefully check whether the lamps are damaged by transportation, such as whether the screws are loose and whether the lenses are broken. Before energizing, please check whether the lamp position is correct and stable, check whether the power supply voltage is the same as the product, otherwise the damaged lamps are not in the warranty example, and can be energized after the normal inspection.

This equipment is a level 1 protection equipment, so the bottom line of the power supply must be grounded and completed by professionals. Check whether the power supply voltage is normal before use. If the power supply voltage fluctuates greatly, it is recommended to use the 110V-230V voltage regulator or voltage regulator

technical parameter:

Rated voltage: AC110 / 230V + 10% rated frequency: 50Hz~60Hz

Rated power: 200W light source: 432 LED

Number of lamp beads: 432 colors: positive and white, warm and white

Channel number: 2 with 4 DMX512 channels working environment: indoor, outdoor

Control mode: self walk, DMX512, main slave synchronization

product description

1. Drawing part:

2. Operation instructions:

Display the last operation, press B / C to select different functional effects (refer to the menu). The latter two numbers represent where the function is located.address code. Or the parameters of the speed, or of the. Press either B or C to modify its parameter value.

3. Digital display window function control table

| 1 | A001 | A001 address code, up or down, press confirmation to save the address code |
| --- | --- | --- |
| 2 | d001 | Select the d001 address code, select the address code up or down, and press confirmation to save the address code |
| 3 | R255 | Manual color adjustment, adjust the brightness with the up or down key between R000-R255 without a console, and press the confirmation key to save |
| 4 | G25 | Manual green adjustment, use up or down keys between G000-G255 without a console, press the confirmation key to save |
| 5 | T000 |  |
| 6 | S-32 | Number of wireless remote control complete machine, press the up / down key to select the number of remote control lamps (S-01-S-99), and press the confirmation key to save. Up to 90 units, |
| 7 | Id01 | Wireless remote control ID address, press up / down key to select (ID01-ID99) select ID address, press confirmation key to save. |

4. DMX2 channel function:

| Monochromatic channel |  |
| --- | --- |
| channel 1 | aiming |
| channel 2 | Strobe, from slow to fast |
| Two-color channel | Channel function |
| channel 1 | switch |
| channel 2 | Is white |
| channel 3 | Warm white |
| channel 4 | Flash from slow to fast |
| channel 5 | Sound control + self-walking |
| channel 6 | velocity |

5. DMX-512 address code setting method:

- Primary and Perspective Synchronization considerations:

1. When the host is used, the lamp will send a DMX-512 signal, which cannot be connected to the DMX-512 console, otherwise it will interfere with each other and cannot run synchronously.

2. Many lamps are running mainly and synchronously, among which only one lamp is the main engine, and the other lamps are the slave machine (set to SLA or it cannot run synchronously.

| cresset | start address |
| --- | --- |
| 1 | 001 |
| 2 | 017 |
| 3 | 033 |
| 4 | 049 |
| 5 | 065 |
| 6 | 081 |

Maintenance: It is recommended to use a professional glass cleaning agent and clean it with a velvet cloth. Keep clean regularly for the LED maximum brightness output.